## Slide 1
729 Powell Facilities
2026 Electricity
Analysis
OLS Regression Model | 12-Period Billing Forecast | Actual vs. Budget Comparison
Prepared: April 2026

## Slide 2
Forecast Model Overview
📊
kWh Regression
β₀ = −49,960 (intercept)
β₁ = 3,740 × Days
β₂ = 0.0943 × Prod. (kg)
β₃ = 9,125 × Summer flag
R² = 0.641 | p < 0.001
⚡
kW Seasonal Model
Non-summer avg: 281.65 kW
Summer avg: 308.60 kW
Summer uplift: +26.95 kW
Applied to May – Aug periods
Based on 2024–2025 actuals
💲
Rate Assumptions
Energy rate: $0.0675/kWh
Demand rate: $13.75/kW
Basic: $1.00/day
GST: 5% on pretax
Riders/credits: 2025 template

## Slide 3
2026 Annual Forecast Summary
$141,760
Total Bill (2026)
Annual forecast
1,407,524
Total kWh
Energy consumed
290.6 kW
Avg kW Demand
Blended average
$11,813
Avg Monthly Bill
Per billing period
Chart: 
| P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12
Total Bill ($) | 10567 | 11972 | 10501 | 11869 | 12401 | 13053 | 11945 | 12019 | 11727 | 12682 | 10910 | 12115
🟡 Summer periods

## Slide 4
2026 Billing Period Forecast – Detail
Period | Billing Dates | Days | Prod (kg) | kWh Pred | kW Pred | Energy ($) | Demand ($) | Other ($) | Total ($)
1 | Dec 31–Jan 29 | 30 | 465,001 | 106,099 | 281.6 | $7,162 | $3,873 | −$1,001 | $10,567
2 | Jan 30–Mar 2 | 32 | 603,627 | 126,652 | 281.6 | $8,549 | $3,873 | −$1,052 | $11,972
3 | Mar 3–Mar 30 | 28 | 523,079 | 104,095 | 281.6 | $7,026 | $3,873 | −$926 | $10,501
4 | Mar 31–Apr 29 | 30 | 584,763 | 117,393 | 281.6 | $7,924 | $3,873 | −$523 | $11,869
5 | Apr 30–May 29 | 30 | 664,325 | 124,895 | 281.6 | $8,430 | $3,873 | −$523 | $12,401
6 | May 30–Jun 29 | 31 | 576,195 | 129,450 | 308.6 | $8,738 | $4,243 | −$581 | $13,053
7 | Jun 30–Jul 28 | 29 | 525,690 | 117,206 | 308.6 | $7,911 | $4,243 | −$807 | $11,945
8 | Jul 29–Aug 27 | 30 | 467,445 | 115,454 | 308.6 | $7,793 | $4,243 | −$620 | $12,019
9 | Aug 28–Sep 25 | 29 | 451,158 | 110,178 | 308.6 | $7,437 | $4,243 | −$541 | $11,727
10 | Sep 26–Oct 28 | 33 | 598,668 | 129,925 | 281.6 | $8,770 | $3,873 | −$597 | $12,682
11 | Oct 29–Nov 27 | 30 | 453,008 | 104,968 | 281.6 | $7,085 | $3,873 | −$597 | $10,910
12 | Nov 28–Dec 29 | 32 | 545,891 | 121,208 | 281.6 | $8,182 | $3,873 | −$548 | $12,115
TOTAL | 354 | 6,458,850 | 1,407,524 | 290.6 | $95,008 | $47,954 | −$8,317 | $141,760
Summer period (May–Aug) | Total Bill = Pretax + 5% GST | Other = Rate Rider + Credit charges

## Slide 5
Actual vs. Forecast – Periods 1 & 2 (Bills Received)
Period 1
Dec 31, 2025 – Jan 29, 2026
FORECAST
$10,567
ACTUAL
$11,212
→
Variance (Actual − Forecast)
+$645 (+6.1%)
Actual bill exceeded forecast — demand
higher than seasonal model predicted.
Period 2
Jan 30 – Mar 2, 2026
FORECAST
$11,972
ACTUAL
$12,527
→
Variance (Actual − Forecast)
+$555 (+4.6%)
Actual bill exceeded forecast — demand
higher than seasonal model predicted.
Note: Variance reflects difference between billed amount and OLS regression forecast. Forecasts use 2025 rate template.

## Slide 6
Bill Components & kWh Forecast
Chart: 
| P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12
Energy ($) | 7162 | 8549 | 7026 | 7924 | 8430 | 8738 | 7911 | 7793 | 7437 | 8770 | 7085 | 8182
Demand ($) | 3873 | 3873 | 3873 | 3873 | 3873 | 4243 | 4243 | 4243 | 4243 | 3873 | 3873 | 3873
Other Charges ($) | 1001 | 1052 | 926 | 523 | 523 | 581 | 807 | 620 | 541 | 597 | 597 | 548
Chart: kWh Forecast by Period
| P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12
kWh Predicted | 106099 | 126652 | 104095 | 117393 | 124895 | 129450 | 117206 | 115454 | 110178 | 129925 | 104968 | 121208

## Slide 7
Key Assumptions
1
Rates stable
2025 median rates applied to all 2026 periods ($0.0675/kWh, $13.75/kW)
2
Riders fixed
Rate riders and credits replicated from 2025 template by period position
3
Production budget
Monthly kg from 2026 budget; prorated daily into each billing period
4
Summer flag
May–August periods use kW uplift of +26.95 kW over non-summer baseline
5
GST
5% applied to all pretax totals
Recommended Actions
🔁
Update rate assumptions when 2026 tariff notice is received from utility
📋
Replace template riders with actual 2026 rider amounts as bills arrive
📊
Refresh regression model quarterly using incoming 2026 actuals
⚠️
Monitor summer demand — actual kW may exceed 308.6 kW if production rises
✅
Reconcile each period: actual bill vs. forecast within 5% is target accuracy

## Slide 8
⚡
2026 Electricity Forecast
OLS Model · 12 Billing Periods · $141,760 Total Forecast
4.27%
Backtest accuracy
$499
Avg period error
12
Billing cycles
Model built on 2024–2025 actuals · Rates based on 2025 utility bills · Subject to tariff changes

## Slide 9
Cost Saving Opportunities
Potential: ~$4,000–$8,000/yr
Where the $141,760 Goes
Energy 67% $95,007
Demand 33% $47,956
kWh/Tonne Intensity by Period (best=188, worst=247, avg=220)
Best (P5)
Worst (P8)
Summer
1
Energy Efficiency
$2,850 – $4,750/yr
3–5% reduction in kWh consumed
Energy is 67% of your bill — it's the biggest lever.
› Audit compressed air systems for leaks
› LED lighting & HVAC occupancy scheduling
› Benchmark all periods to best-case P5 (188 kWh/t)
› Target: reduce 31% intensity gap best vs. worst
2
Demand Management
$825 – $1,650/yr
5–10 kW reduction in registered peak
Summer kW runs 27 kW above non-summer baseline.
› Stagger equipment startups — avoid coincident peaks
› Install real-time kW dashboard / demand controller
› Schedule high-draw tasks outside billing peak window
› Focus on P6–P9: each kW saved = $55/yr at $13.75/kW
3
Load Shifting
$825/yr
5 kW registered demand reduction
No capital spend — scheduling discipline only.
› Move washdowns, CIP, cleaning to off-peak hours
› Defer non-critical loads during peak production days
› Review billing cycle dates vs. high-demand days
› Track actual vs. registered demand each period
Total potential: $4,000–$8,000/yr | #1 Priority: Energy efficiency (67% of spend, zero-capex audits first) | Quick win: Demand staggering requires no investment